## Slide 1
Atomic masses and ion traps
Part I – From mass measurements to nuclear structure
Vladimir Manea
IJCLab, Orsay, France

## Slide 2: Outline – Part I
Nuclear binding energies and mass filters
Sensitivity of mass filters to nuclear structure
Mass filters and nuclear-structure models
Impact of masses on nucleosynthesis simulations
Conclusions

## Slide 3: Nuclear binding energy
Mnuc(Z,N) = Z mp + N mn + E (Z,N)/c2
Interacting system is lighter than noninteracting one
The difference in mass (the mass defect) is exactly the binding energy (up to a c2).
Convention: E(Z,N)<0 for bound system
BE(Z,N)= -E(Z,N)

## Slide 4: Nuclear binding energy
Mnuc(Z,N) = Z mp + N mn + E (Z,N)/c2
Interacting system is lighter than noninteracting one
The difference in mass (the mass defect) is exactly the binding energy (up to a c2).
Nuclear binding energy per nucleon has a characteristic dependence on the nuclear mass.
M. Wang et al., Chinese Phys. C 45 030003 (2021)

## Slide 5: Nuclear binding energy and mass formulas
The semi-empirical mass fomula:
The first nuclear mass model describes the main features of the nuclear binding energy with only 5 parameters.

## Slide 6: Nuclear binding energy and mass formulas
The semi-empirical mass fomula:
The first nuclear mass model describes the main features of the nuclear binding energy with only 5 parameters.
The vast majority of binding energies predicted to better than 5%
The whole elusiveness of nuclear physics in one picture
not very good liquid drops
extra binding  magic nuclei

## Slide 7: Nuclear binding energy and mass formulas
Modern evolutions of the empirical mass formula: the Finite Range Droplet Model with 38 parameters
We will come back to that
Root-mean-square error on experimentally known masses 0.56 MeV (not E/A, total E)
P. Möller, A.J. Sierk, T. Ichikawa, H. Sagawa, At. Data Nucl. Data Tables 109-110, 1-204 (2016)
Why bother with a non-microscopic approach:
  because it is easier
  because mass predictions are important for nuclear energy and nucleosynthesis
  because it kind-of works

## Slide 8: Mass filters
Total nuclear binding energy is not a good quantity for studying nuclear structure:
  To extract it from masses  correct for electron binding energy
  It is a global quantity  difficult to separate individual contributions
Mnuc(Z,N) = Mat(Z,N) – Z me – Eel (Z)/c2
BEel (Z)
theoretical values
D. Lunney, J. M. Pearson, C. Thibault, Rev. Mod. Phys. 75, 1021 (2003)
We need
We measure
Problem
Most precision mass spectrometry techniques measure 1+ or 2+ ions

## Slide 9: Mass filters
Total nuclear binding energy is not a good quantity for studying nuclear structure:
  To extract it from masses  correct for electron binding energy
  It is a global quantity  difficult to separate individual contributions
Mnuc(Z,N) = Mat(Z,N) – Z me – Eel (Z)/c2
BEel (Z)
theoretical values
We need
We measure
Mass filters: finite-difference derivatives of binding energy
  For many of them, electron binding energy cancels out when using masses
  Certain filters can isolate particular nuclear-structure effects
Problem
Most precision mass spectrometry techniques measure 1+ or 2+ ions

## Slide 10: Mass filters: example
Mnuc(Z,N) = Mat(Z,N) – Z me – Eel (Z)/c2
We measure
We need
E (Z,N) = [Mnuc(Z,N) - Z mp - N mn ] c2
Example: the one-neutron separation energy (1st derivative)

## Slide 11: Mass filters: example
Example: the one-neutron separation energy (1st derivative)
Mnuc(Z,N) = Mat(Z,N) – Z me – Eel (Z)/c2
We measure
We need
E (Z,N) = [Mnuc(Z,N) - Z mp - N mn ] c2
Unwanted Eel(Z) contribution cancels out

## Slide 12: Mass filters: example
Calcium isotopic chain: 22 isotopes measured
Both a textbook case and a state-of-the-art research subject
Calcium isotopes
protons
28
1f7/2
20
1d3/2
2s1/2
1g9/2
2p1/2
1f5/2
2p3/2
neutrons
28
50
1f7/2
1d3/2
2s1/2
20
M. Wang et al., Chinese Phys. C 45 030003 (2021)
L. Lalanne et al., Phys. Rev. Lett. 131, 092501 (2023)
J. Surbrook et al., Phys. Rev. C 103, 014323 (2021)

## Slide 13: Mass filters: example
Calcium isotopic chain: 22 isotopes measured
Both a textbook case and a state-of-the-art research subject
Calcium isotopes
2p3/2
neutrons
28
1f7/2
1d3/2
2s1/2
20
2p3/2
neutrons
28
1f7/2
1d3/2
2s1/2
20
Drop in Sn matches gap in single-particle spectrum

## Slide 14: Mass filters: example
Calcium isotopic chain: 22 isotopes measured
Both a textbook case and a state-of-the-art research subject
Calcium isotopes
2p3/2
neutrons
28
1f7/2
1d3/2
2s1/2
20
2p3/2
neutrons
28
1f7/2
1d3/2
2s1/2
20
One-neutron empirical shell gap (for N = magic):

## Slide 15: Mass filters: what about the odd-even staggering?
The shown independent-particle scheme cannot explain the odd-even staggering.
Calcium isotopes
Seniority model: single j shell with interaction

## Slide 16: Mass filters: what about the odd-even staggering?
The shown independent-particle scheme cannot explain the odd-even staggering.
Calcium isotopes
Seniority model: single j shell with interaction

## Slide 17: Mass filters: to avoid the odd-even staggering
To avoid the odd-even staggering, two-neutron filters can be used
2p3/2
neutrons
28
1f7/2
1d3/2
2s1/2
20
2p3/2
neutrons
28
1f7/2
1d3/2
2s1/2
20
Calcium isotopes

## Slide 18: Mass filters: to avoid the odd-even staggering
To avoid the odd-even staggering, two-neutron filters can be used
2p3/2
neutrons
28
1f7/2
1d3/2
2s1/2
20
2p3/2
neutrons
28
1f7/2
1d3/2
2s1/2
20
Calcium isotopes

## Slide 19: Mass filters: analogies to atoms
The link between separation energies and shell closures inspired from atomic structure
Calcium isotopes
Here analogy not perfect: on the right, the charge of the nucleus increases also (binding of the shell increases)
Ionization energy of atoms

## Slide 20: Mass filters: analogies to atoms
The link between separation energies and shell closures inspired from atomic structure
We can fix it: for each N, pick Z on the valley of stability.
Ionization energy of atoms

## Slide 21: Mass filters: analogies to atoms
The link between separation energies and shell closures inspired from atomic structure
We can fix it: compare to ionization-energy sequence of ions.
Ionization energy of ions
Calcium isotopes

## Slide 22: Intermediate summary
Finite-difference formulas of atomic masses (mass filters) are equal (in many cases exactly) to differences of nuclear binding energies.
In schematic models, mass filters correspond exactly to nuclear-structure features (shell energies, shell gaps, pairing energies, …).
Atomic mass measurements are a means to study nuclear structure
The schematic models presented so far are extreme approximations, having only qualitative agreement with very specific observations.

## Slide 23: Mass filters and nuclear-structure models
At the center of most nuclear-structure models is the idea of nuclear mean field:
Configuration interaction (« shell model »)
 Preserves symmetries of Hamiltonian
 Only binding energy of valence particles
 Differences of binding energies generally well described
 Can cross-check predictions of mass filters and excited states

## Slide 24: Mass filters and nuclear-structure models
At the center of most nuclear-structure models is the idea of nuclear mean field:
Configuration interaction (« shell model »)
Self-consistent mean-field
Microscopic-macroscopic models
 Liquid-drop parameterization of the shape with many phenomenological corrections
 Microscopically optimized mean field (and shape) with some phenomenological corrections
 Preserves symmetries of Hamiltonian
 Breaks symmetries of Hamiltonian
 Has prescriptions to restore them
 Breaks symmetries of Hamiltonian
 Only binding energy of valence particles
 Differences of binding energies generally well described
 Total binding energies generally well described
 Can cross-check predictions of mass filters and excited states

## Slide 25: Mass filters and nuclear-structure models
At the center of most nuclear-structure models is the idea of nuclear mean field:
Configuration interaction (« shell model »)
Self-consistent mean-field
Microscopic-macroscopic models
 Liquid-drop parameterization of the shape with many phenomenological corrections
 Microscopically optimized mean field (and shape) with some phenomenological corrections
 Preserves symmetries of Hamiltonian
 Breaks symmetries of Hamiltonian
 Has prescriptions to restore them
 Breaks symmetries of Hamiltonian
 Only binding energy of valence particles
 Differences of binding energies generally well described
 Total binding energies generally well described
 Can cross-check predictions of mass filters and excited states
Most recent developments
Still used considerably for:
Global tables
Fission studies
+ Links to ab initio and chiral-EFT interactions via the IMSRG

## Slide 26: Self-consistent mean-field models
Originally Hartree-Fock-Bogoliubov
  Nowadays evolved to « Energy Density Functionals »
  Or combined with beyond-mean-field techniques
Breaking symmetries allows describing correlations due to NN interaction
  Particle number  pairing correlations
  Rotational symmetry  quadrupole correlations
  Reflection symmetry  octupole correlations
R. Navarro Perez et al., Comput. Phys. Commun. 220, 363 (2017)

## Slide 27: Self-consistent mean-field models
Originally Hartree-Fock-Bogoliubov
  Nowadays evolved to « Energy Density Functionals »
  Or combined with beyond-mean-field techniques
Breaking symmetries allows describing correlations due to NN interaction
  Particle number  pairing correlations
  Rotational symmetry  quadrupole correlations
  Reflection symmetry  octupole correlations
Zr isotopes
M. Kortelainen et al., Phys. Rev. C 82, 024313 (2010)

## Slide 28: Self-consistent mean-field models
Originally Hartree-Fock-Bogoliubov
  Nowadays evolved to « Energy Density Functionals »
  Or combined with beyond-mean-field techniques
Breaking symmetries allows describing correlations due to NN interaction
  Particle number  pairing correlations
  Rotational symmetry  quadrupole correlations
  Reflection symmetry  octupole correlations
M. Kortelainen et al., Phys. Rev. C 82, 024313 (2010)
Zr isotopes

## Slide 29: Testing nuclear-structure models
Experimental mass filters should be compared to theoretical mass filters (and not their microscopic counterpart)
J.-P. Delaroche et al., Phys. Rev. C 81, 014303 (2010)
V. Soma, T. Duguet, Phil. Trans. R. Soc. A 382, 20230117 (2024)

## Slide 30: Testing nuclear-structure models
Experimental mass filters should be compared to theoretical mass filters (and not their microscopic counterpart)
SPEs Gogny D1S
Link
!
caveats
J.-P. Delaroche et al., Phys. Rev. C 81, 014303 (2010)
V. Soma, T. Duguet, Phil. Trans. R. Soc. A 382, 20230117 (2024)

## Slide 31: Testing nuclear-structure models
Experimental mass filters should be compared to theoretical mass filters (and not their microscopic counterpart)
SPEs Gogny D1S
Link
!
caveats
optimize
agreement
J.-P. Delaroche et al., Phys. Rev. C 81, 014303 (2010)
V. Soma, T. Duguet, Phil. Trans. R. Soc. A 382, 20230117 (2024)

## Slide 32: Testing nuclear-structure models
Experimental mass filters should be compared to theoretical mass filters (and not their microscopic counterpart)
SPEs Gogny D1S
Link
!
caveats
optimize
agreement
cross check
other observables
J.-P. Delaroche et al., Phys. Rev. C 81, 014303 (2010)
V. Soma, T. Duguet, Phil. Trans. R. Soc. A 382, 20230117 (2024)

## Slide 33: Testing nuclear-structure models: caveats
Computation of mass filters by nuclear models mix contributions of different components.
Nuclear potential is self-consistent
Single-particle picture evolves with Z and N

## Slide 34: Testing nuclear-structure models: caveats
Nuclear potential is self-consistent
Single-particle picture evolves with Z and N
2p3/2
neutrons
28
1f7/2
1d3/2
2s1/2
20
protons
1d3/2
2s1/2
2p3/2
neutrons
28
1f7/2
1d3/2
2s1/2
20
+ mean field readjustment
+ configuration mixing
we want this Sn
we determine E(Z,N) – E(Z,N+2)
Computation of mass filters by nuclear models mix contributions of different components.

## Slide 35: Testing nuclear-structure models: caveats
Computation of mass filters by nuclear models mix contributions of different components.
Energy from proton-neutron correlations depends on proton number
M. Wang et al., Chinese Phys. C 45 030003 (2021)

## Slide 36: Testing nuclear-structure models: caveats
Computation of mass filters by nuclear models mix contributions of different components.
Energy from proton-neutron correlations depends on proton number
M. Wang et al., Chinese Phys. C 45 030003 (2021)

## Slide 37: Testing nuclear-structure models: caveats
Computation of mass filters by nuclear models mix contributions of different components.
Energy from proton-neutron correlations depends on proton number
M. Bender, G.F. Bertsch, P.-H.Heenen, Phys. Rev. C 73, 34322 (2006)

## Slide 38: Testing nuclear-structure models: caveats
Computation of mass filters by nuclear models mix contributions of different components.
Energy from proton-neutron correlations depends on proton number
M. Bender, G.F. Bertsch, P.-H.Heenen, Phys. Rev. C 73, 34322 (2006)

## Slide 39: Nuclear-structure evolution viewed through mass filters
By measuring atomic masses along chains of isotopes: study evolution of nuclear structure
N = 50
N = 82
N = 126
N = 28
M. Wang et al., Chinese Phys. C 45 030003 (2021)

## Slide 40: Nuclear-structure evolution viewed through mass filters
By measuring atomic masses along chains of isotopes: study evolution of nuclear structure
∆2n (MeV)
N = 50
N = 82
N = 126
N = 28
Example : « dissapearance » of N = 20 magic number
∆2n (MeV)
M. Wang et al., Chinese Phys. C 45 030003 (2021)

## Slide 41: Nuclear-structure evolution viewed through mass filters
By measuring atomic masses along chains of isotopes: study evolution of nuclear structure
Example : « dissapearance » of N = 20 magic number
π
ν
Monopole proton-neutron interaction
1f7/2
20
1d3/2
2s1/2
1d5/2
8
1p1/2
8
neutrons
protons
16
28
∆2n (MeV)
spin-orbit partners
Strong spatial overlap (strong interaction)
pn interaction attractive
Reduction in empirical shell gap corresponds in model to reduction in gap between single-particle levels.
M. Wang et al., Chinese Phys. C 45 030003 (2021)

## Slide 42: Other applications of mass filters: nucleosynthesis
M. Arnould, S. Goriely, K. Takahashi, Physics Reports 450, 97-213 (2007)
Canonical r-process (Nn and T9):
    Constant supply of n and high-enough T
    (n,γ) (γ,n) equilibrium
  Steady-state beta decay
  Sudden freeze-out
courtesy of D. Lunney

## Slide 43: Other applications of mass filters: nucleosynthesis
M. Arnould, S. Goriely, K. Takahashi, Physics Reports 450, 97-213 (2007)
Canonical r-process (Nn and T9):
    Constant supply of n and high-enough T
    (n,γ) (γ,n) equilibrium
  Steady-state beta decay
  Sudden freeze-out
Process evolves at quasi-constant Sn
courtesy of D. Lunney

## Slide 44: Other applications of mass filters: nucleosynthesis
P. Möller, A.J. Sierk, T. Ichikawa, H. Sagawa, At. Data Nucl. Data Tables 109-110, 1-204 (2016)
Canonical r-process (Nn and T9):
    Constant supply of n and high-enough T
    (n,γ) (γ,n) equilibrium
  Steady-state beta decay
  Sudden freeze-out
Process evolves at quasi-constant Sn
courtesy of D. Lunney

## Slide 45: Other applications of mass filters: nucleosynthesis
Canonical r-process (Nn and T9):
    Constant supply of n and high-enough T
    (n,γ) (γ,n) equilibrium
  Steady-state beta decay
  Sudden freeze-out
Process evolves at quasi-constant Sn
P. Möller, A.J. Sierk, T. Ichikawa, H. Sagawa, At. Data Nucl. Data Tables 109-110, 1-204 (2016)

## Slide 46: Other applications of mass filters: nucleosynthesis
    When (n,γ) (γ,n) equilibrium is reached, r-process path at quasi-constant Sn
    Strength of empirical shell gaps impacts predicted abundance in r-process scenario
courtesy of D. Lunney
D. Martin et al. Phys. Rev. Lett. 116, 121101 (2016)
freeze-out
final
Scenario: neutron-star merger
S2n/2

## Slide 47: Final summary Part I
All state-of-the-art nuclear models can compare their predictions to experimental mass filters
Comparisons need to account consistently for the contributions of different phenomena to a given mass filter
The study of shell evolution is one of the main contributions of mass measurements to nuclear-physics research (more in Part II)
The application of masses goes beyond nuclear-structure research: one example, nucleosynthesis simulations.

## Slide 48
Atomic masses and ion traps
Part II – Experimental techniques and recent highlights
Vladimir Manea
IJCLab, Orsay, France

## Slide 49: Outline – Part II
Experimental techniques
  Production
  Storage rings
  Ions traps and associated methods
Recent highlights:
  « New magic numbers » in the calcium isotopic chain
  The N = 50 magic number
Perspectives

## Slide 50: Experimental techniques: overview
Mass spectrometry techniques:
  Ion traps
  Storage rings
  In-flight spectrometers
Accelerator
light projectiles
heavy projectiles
Thick target
(ISOLDE, ISAC, …)
Thin target in gas cell
(IGISOL, …)
High resolution separator
>30 keV beam
Cooler-buncher
Ion trap
Electron multiplier
ions
He
He
Thin target in flight
(FRS, …)
In-flight separator
Storage ring
Mass-dependent interaction
TOF or spatial separation

## Slide 51: Experimental techniques: overview
Mass spectrometry techniques:
  Ion traps
  Storage rings
  In-flight spectrometers
Accelerator
light projectiles
heavy projectiles
Thick target
(ISOLDE, ISAC, …)
Thin target in gas cell
(IGISOL, …)
High resolution separator
>30 keV beam
Cooler-buncher
Ion trap
Electron multiplier
ions
Ar
He
Thin target in flight
(FRS, …)
In-flight separator
Storage ring
Mass-dependent interaction
TOF or spatial separation
Laser Ion Source (LIS)
λ1
λ2
V. N. Fedosseev et al., Phys. Scr. 85, 058104 (2012)

## Slide 52: Experimental techniques: storage rings
FRS-ESR@GSI
M. Steck, Yu. A. Litvinov, PPNP 115, 103811 (2020)
B. Franzke, NIM B 24–25, 18–25 (1987)
Beam injected from a fragment separator at > 100 MeV/ u
Revolution time of ions T of several 100 ns

## Slide 53: Experimental techniques: storage rings
FRS-ESR@GSI
M. Steck, Yu. A. Litvinov, PPNP 115, 103811 (2020)
B. Franzke, NIM B 24–25, 18–25 (1987)
Beam injected from a fragment separator at > 100 MeV/ u
Revolution time of ions T of several 100 ns
Yu. A. Litvinov, Proc. Sci. (2023)
Precision < 10 keV
Measurement time > 1 s

## Slide 54: Experimental techniques: storage rings
FRS-ESR@GSI
M. Steck, Yu. A. Litvinov, PPNP 115, 103811 (2020)
B. Franzke, NIM B 24–25, 18–25 (1987)
Beam injected from a fragment separator at > 100 MeV/ u
Revolution time of ions T of several 100 ns
Yu. A. Litvinov, Proc. Sci. (2023)
Precision initially ≈ 50-100 keV
Measurement time < 1 ms
Many recent developments

## Slide 55: Experimental techniques: storage rings currently in operation
FRS-ESR@GSI
M. Steck, Yu. A. Litvinov, PPNP 115, 103811 (2020)
Y. Yamaguchi et al., NIM B 317, 629-635 (2013)
J. Xia et al., NIM A 488, 11–25 (2002)
B. Franzke, NIM B 24–25, 18–25 (1987)
R3@RIKEN
CSRe@Lanzhou
Isochronous mode
2 detectors in the ring to determine velocity in addition to frequency
Precision < 20 keV
Isochronous mode
1 detector after the ring for total revolution time

## Slide 56: Experimental techniques: ion traps
An ion trap is a device that confines the motion of a charged particle to a finite volume.
Strictly speaking, at low energy and to a small volume.
Unavoidably uses electromagnetic fields.

## Slide 57: Experimental techniques: ion traps
An ion trap is a device that confines the motion of a charged particle to a finite volume.
Strictly speaking, at low energy and to a small volume.
Unavoidably uses electromagnetic fields.
Historically, the first ion traps were quadrupole traps
  Hyperbolic electrodes to match the equipotential surfaces of the quadrupole potential
Quadrupole potential is confining in one direction and deconfing in the other
ring
end caps

## Slide 58: Experimental techniques: ion traps
An ion trap is a device that confines the motion of a charged particle to a finite volume.
Strictly speaking, at low energy and to a small volume.
Unavoidably uses electromagnetic fields.
Historically, the first ion traps were quadrupole traps
  Hyperbolic electrodes to match the equipotential surfaces of the quadrupole potential
Quadrupole potential is confining in one direction and deconfing in the other
U
B
Add an axial magnetic field
Penning trap
Paul trap
Add an oscillatory quadrupole field
F.G. Major,V.N. Gheorghe, G.Werth, Charged particle traps, Springer (2005)
Hans Dehmelt
Wolgang Paul

## Slide 59: Experimental techniques: Penning trap
Penning trap uses a potential well of 10-100 V and a magnetic field of a few T
U
B
Simplified view

## Slide 60: Experimental techniques: Penning trap
In reality: Motion splits into 2 eigenmotions
Modified cyclotron (called 1 MHz)
Magnetron (called 1 kHz )
Penning trap uses a potential well of 10-100 V and a magnetic field of a few T
U
B
Simplified view

## Slide 61: Experimental techniques: Penning trap
In reality: Motion splits into 2 eigenmotions
Modified cyclotron (called 1 MHz)
Magnetron (called 1 kHz )
Penning trap uses a potential well of 10-100 V and a magnetic field of a few T
U
B
Simplified view
Segmented ring
Luckily, with a segmented ring electrode one can:

## Slide 62: Experimental techniques: Penning trap
Luckily, with a segmented ring electrode one can:
Convert the radius of a motion to the other (by a quadrupole oscillating field)
  Conversion resonant at (!)
Increase the radius of a motion (by a dipole oscillating field)
In reality: Motion splits into 2 eigenmotions
Modified cyclotron (called 1 MHz)
Magnetron (called 1 kHz )
Penning trap uses a potential well of 10-100 V and a magnetic field of a few T
U
B
Simplified view
Dipole excitation
Quadrupole excitation

## Slide 63: Methods: Time-of-flight ion-cyclotron resonance
Penning trap uses a potential well of 10-100 V and a magnetic field of a few T
Convert the radius of a motion to the other (by a quadrupole oscillating field)
  Conversion resonant at (!)
Huge increase in radial energy
How to detect it?
1 MHz
1 kHz
Maximal enhancement at

## Slide 64: Methods: Time-of-flight ion-cyclotron resonance
MCP
Precision/resolution scales with measurement time
A few keV precision for 500-1000 ms measurement
M. König et al. Int. J. Mass Spectrom. 142, 95 (1995)

## Slide 65: Methods: Phase-imaging ion-cyclotron resonance
S. Eliseev et al., Phys. Rev. Lett. 110, 082501 (2013)
S. Eliseev et al., Appl. Phys. B 114, 107 (2014)
J. Karthein et al., Hyperfine Interact. 240, 61 (2019)
With the development of position-sensitive TOF detectors, it became possible to measure « directly » the circular ion motion.
No excitation (center position)
On radial motion, wait for time t
On radial motion, wait for time t + Δt
φ
Position-sensitive detector
In this case, simplified picture quite close to reality

## Slide 66: Methods: Phase-imaging ion-cyclotron resonance
S. Eliseev et al., Phys. Rev. Lett. 110, 082501 (2013)
S. Eliseev et al., Appl. Phys. B 114, 107 (2014)
J. Karthein et al., Hyperfine Interact. 240, 61 (2019)
φ
Position-sensitive detector
With the development of position-sensitive TOF detectors, it became possible to measure « directly » the circular ion motion.
No scanning measurement, just counting
About factor 4 higher precision and about factor 40 higher resolution
A few keV precision for 100 ms measurement time

## Slide 67: Methods: Phase-imaging ion-cyclotron resonance
φ
Example: separating the low-lying isomer in 76Cu
    Isomers have larger mass (less binding)
TOF-ICR with 1120 ms measurement time
PI-ICR with 200 ms measurement time
Excitation energy determined to be 64.8 keV
L. Canete et al., Phys. Lett. B 853, 138663 (2024)
Experiment with the JYFLTRAP mass spectrometer at the University of Jyväskylä
Lower measurement time means shorter lived isotopes can be studied

## Slide 68: Methods: Phase-imaging ion-cyclotron resonance
27
TRIGATRAP
SHIPTRAP
TITAN
JYFLTRAP
ISOLTRAP
LEBIT
pulsed proton beam on ISOL target
continuous proton beam on ISOL target
in-flight production
spontaneous fission source
fusion-evaporation products
IGISOL target
TRIGA reactor
CPT

## Slide 69: Experimental techniques: Multi-reflection time-of-flight spectrometer
A major problem of ion traps is contamination: isobars of the ion of interest must be removed before measurements
An ion trap initially used for isobar separation has become a workhorse for mass measurements
Bradbury-Nielsen beam gate
CLOSED
OPEN
Segmented, linear Paul trap
Wolgang Paul
R. N. Wolf et al., Int. J. Mass Spectrom 313, 8 (2012)
RFQ cooler and buncher
Multi-reflection time-of-flight mass separator

## Slide 70: Experimental techniques: Multi-reflection time-of-flight spectrometer
A major problem of ion traps is contamination: isobars of the ion of interest must be removed before measurements
An ion trap initially used for isobar separation has become a workhorse for mass measurements
RFQ cooler and buncher
Multi-reflection time-of-flight mass separator
Electron multiplier
Segmented, linear Paul trap
Wolgang Paul
R. N. Wolf et al., Int. J. Mass Spectrom 313, 8 (2012)
M. Mougeot et al., Phys. Rev. Lett. 120, 232501 (2018)
1. deduce a and b with reference ions
2. determine mass of unknown ions
Again, a non-scanning technique
Measurement time of only a few 10 ms

## Slide 71: Experimental techniques: Multi-reflection time-of-flight spectrometer
Many years of developments have brought the MR-TOF MS to the same level of precision and stability as the Penning trap (especially for short-lived isotopes).
W. S. Porter et al., Phys. Rev. C 105, L041301 (2022)
L. Nies et al., Phys. Rev. Lett. 131, 022502 (2023)
D. S. Hou et al., arXiv:2602.23776 (2026)
ZD-MRTOF-MS@RIKEN
TITAN@TRIUMF
ISOLTRAP@CERN
Improving bunch compression
Stabilizing the trapping voltages
Temperature stabilizing the power supplies and beam line
Retrapping ions after 1st round of purification
Can reach 10-20 keV precision for 20-30 ms measurement time.

## Slide 72: Experimental techniques: practical aspects
Can perform measurements in only a few 100 us and reach 10-20 keV precision
No need to stop the beam
Very expensive and very large
For quick measurements trade-off of precision with efficiency
Storage ring
Penning trap with PI-ICR
Can perform measurements in 50-100 ms and reach < 5 keV precision
So far unrivaled resolution
Need to stop/prepare the beam (losses and a few 10 ms extra time)
Expensive and significant size (superconducting magnet)
MR-TOF MS
Can perform measurements in 10-30 ms and reach < 20 keV precision
Need to stop/prepare the beam (losses and a few 10 ms extra time)
Inexpensive and relatively compact

## Slide 73: What precision is needed of mass measurements?
Nuclear liquid drop
Take literature masses as mean and draw from Gaussian with precision as standard deviation

## Slide 74: What precision is needed of mass measurements?
Take literature masses as mean and draw from Gaussian with precision as standard deviation
Gross shell structure

## Slide 75: What precision is needed of mass measurements?
Hints of proton-neutron interaction and shell evolution

## Slide 76: What precision is needed of mass measurements?
Refined proton-neutron interaction and shell evolution
Nuclear deformation effects
N=Z correlation effects

## Slide 77: What precision is needed of mass measurements?
Refined proton-neutron interaction and shell evolution
Nuclear deformation effects
N=Z correlation effects
Fine effects of the mass surface (subshells, shape softness, residual staggering)

## Slide 78: Intermediate summary
Storage rings and ion traps offer many complementary approaches, with a trade-off between precision, efficiency and measurement time
Nowadays, all approaches can routinely offer mass measurements of short-lived and exotic nuclei at the 20-keV precision level.
A mass precision on the order of 20 keV is required to be constrain the trends of the mass surface and be sensitive to fine features.

## Slide 79: A snapshot of the last ≈15 years of experiments
Nuclear structure between Ca and Ni
N = 32, 34 subshells,
N = 40 ‘island of inversion’,
structure towards 78Ni
Nuclear structure around N = 82
Nuclear structure around N = 50
Measurements with unc ≤ 150 keV shown
AME2012
AME2020++
++ means AME2020 and later
≈ 10 groups responsible for most measurements
Deformation of rare-earth nuclei

## Slide 80: A snapshot of the last ≈15 years of experiments
Facilities responsible for large majority of mass measurements in last 15 years

## Slide 81: The region between 48Ca and 78Ni
Large 2+ energy of 52Ca
Unexpected trends of masses in the calcium isotopic chain
A. T. Gallant et al., Phys. Rev. Lett. 109, 032506 (2012)
A. Huck et al., Phys. Rev. C 31, 2226 (1985)
Averages of low-precision measurements
View in 2012:
The rise of the interest in 3N forces and chiral EFT

## Slide 82: Developments along the calcium chain
Large 2+ energy also in 54Ca found at RIKEN
Masses of 53K and 54Ca from ISOLTRAP confirm shell gap at N = 32
Averages of low-precision measurements
View in 2013
D. Steppenbeck et al., Nature 502, 207–210 (2013)
F. Wienholtz et al., Nature 498, 346–349 (2013)
M. Rosenbusch et al., Phys. Rev. Lett. 114, 202501(2015)
First mass measurements with MR-TOF MS

## Slide 83: Developments along the calcium chain
New measurements at RIKEN with the SHARAQ spectrometer up to 57Ca confirm shell gap at N = 34.
Averages of low-precision measurements
Subsequent years
S. Michimasa et al., Phys. Rev. Lett. 121, 022506 (2018)

## Slide 84: Developments along the calcium chain
New measurements at RIKEN with the SHARAQ spectrometer up to 57Ca confirm shell gap at N = 34.
Consistent picture between masses and 2+ excitation energies
Averages of low-precision measurements
Subsequent years

## Slide 85: A puzzle?
Measurements of charge radii using laser spectroscopy give a different picture
Absence of « kink » at N = 32, casts doubt on « magicity » of N = 32.
R. Garcia-Ruiz et al., Nature Physics 12, 594–598 (2016)
A. Koszorus et al. Nature Physics 17, 439–443 (2021)

## Slide 86: A puzzle?
Measurements of charge radii using laser spectroscopy give a different picture
Absence of « kink » casts doubt on « magicity » of N = 32.
R. Garcia-Ruiz et al., Nature Physics 12, 594–598 (2016)
A. Koszorus et al. Nature Physics 17, 439–443 (2021)
Question: what to make of this contradiction?
  N = 32 is not a magic number?
  Charge radii probe the protons, not the neutrons
  The N = 28 gap is much larger, so it produces a kink, while N = 32 is not large enough?
  Charge radii kinks are less sensitive to Pauli blocking (shell closures), than to changes of radial wavefunctions?
  …

## Slide 87: Moving towards the middle of the valence space
Many efforts to probe if the N = 32/34 « gaps » hold once protons are added to calcium
Averages of low-precision measurements

## Slide 88: Moving towards the middle of the valence space
Many efforts to probe if the N = 32/34 « gaps » hold once protons are added to calcium
E. Leistenschneider et al., Phys. Rev. Lett. 126, 042501 (2021)
S. Iimura et al., Phys. Rev. Lett. et al. 130, 012501 (2023)
W. S. Porter et al., Phys. Rev. C 106, 024312 (2022)

## Slide 89: Current picture
AME2020 + newer data
Many efforts to probe if the N = 32/34 « gaps » hold once protons are added to calcium
Similar advances in measurement of E(2+) values above and below Z = 20
H. N. Liu et al., Phys. Rev. Lett. 122 7, 072502 (2019)

## Slide 90: Current picture
AME2020 + newer data
Many efforts to probe if the N = 32/34 « gaps » hold once protons are added to calcium
Similar advances in measurement of E(2+) values above and below Z = 20
H. N. Liu et al., Phys. Rev. Lett. 122 7, 072502 (2019)

## Slide 91: Current picture
H. N. Liu et al., Phys. Rev. Lett. 122 7, 072502 (2019)
T. Otsuka et al., Rev. Mod. Phys. 92, 015002 (2020)
Experimental picture described by an evolution of effective single-particle energies under the action of the monopole proton-neutron interaction

## Slide 92: Moving towards N = 50
AME2020 + newer data
Region of nuclear collectivity/deformation developping from N = 40 around Z = 24 (chromium)
N = 40 isotones
Z = 24 isotopes
F. Nowacki, A. Obertelli, A. Poves, Prog. Part. Nucl. Phys. 120, 103866 (2021)
M. Mougeot et al., Phys. Rev. Lett. 120, 232501 (2018)
R. Silwal et al., Phys. Lett. B 833, 137288 (2022)
Mass measurements:
LNPS model developped to describe very well the nuclear spectroscopy data.

## Slide 93: Evolution of N = 50 shell gap
LSSM
LNPS predicts « vanishing N = 50 magicity » below Z = 28
Driven by strong interaction of 1f7/2 protons and 1g9/2 neutrons
F. Nowacki, A. Obertelli, A. Poves, Prog. Part. Nucl. Phys. 120, 103866 (2021)
1g9/2
2p1/2
1f5/2
50
3s1/2
2d5/2
protons
1f7/2

## Slide 94: Evolution of N = 50 shell gap
Experimental trends of S2n trends slowly advancing towards 78Ni
Markedly larger slope of S2n below Z = 28
28Ni
27Co
29Cu
30Zn
26Fe
31Ga
25Mn
1g9/2
2p1/2
1f5/2
50
3s1/2
2d5/2
protons
1f7/2

## Slide 95: Evolution of N = 50 shell gap
S. Giraud et al., Phys. Lett. B 833, 137309 (2022)
W. S. Porter et al., Phys. Rev. C 105, L041301 (2022)
C. Chambers et al., Phys. Rev. C 112, 014332 (2025)
75Ni+
L. Canete et al., Phys. Rev. C 101, 041304(R) (2020)
TITAN
JYFLTRAP
JYFLTRAP
TITAN

## Slide 96: Evolution of N = 50 shell gap
Experimental trends of S2n trends slowly advancing towards 78Ni
Markedly larger slope of S2n below Z = 28
One can attempt a poor man’s extrapolation to 78Ni
28Ni
27Co
29Cu
30Zn
26Fe
31Ga
25Mn

## Slide 97: Evolution of N = 50 shell gap
A rush in recent years to study nuclei towards 100Sn (Z = 50, N = 50)
N = 50 gap determined in Ag and Cd (ongoing)
Z. Ge et al., Phys. Rev. Lett. 133, 132503 (2024)
D. S. Hou et al., arXiv:2602.23776 (2026)
D. Lange et al., arXiv:2604.18287 (2026)

## Slide 98: Evolution of N = 50 shell gap
A rush in recent years to study nuclei towards 100Sn (Z = 50, N = 50)
N = 50 gap determined in Ag (Z = 47) and Cd (Z = 48)
One can extrapolate to indium (Z = 49) using trend of Coulomb Displacement Energy and mass of 97Cd
CDET=1/2 = E(Z+1,N) – E(Z,N+1)

## Slide 99: Perspectives
Measurements with unc ≤ 150 keV shown
AME2012
AME2020++
Mass 100Sn is tantalizingly close
Mass of 99Sn perhaps not very soon
Between Ca and Ni chains, incremental progress still possible across the board
Further study of N = 50, N = 82 and N = 126 requires next-generation facilities
Likely in-flight production + gas-cell due to unfavorable chemistry and short lifetime
Within reach, also at SPIRAL2

## Slide 100: Perspectives
In the last 20 years, progress in mass measurements has often relied on increasing the sensitivity of the experimental techniques and small innovations on production, rather than big-leap production upgrades.
FAIR
SPIRAL2
For long-term progress, both are needed

## Slide 101: S3-Low Energy Branch  a 3-in-one experimental setup
Quad bender
Gas cell
MR-TOF MS
Beamline to decay stations
Laser ionization area

## Slide 102: Final summary Part II
The region between the calcium and nickel isotopic chains is a rich ground for studying shell evolution and testing nuclear interactions
The MR-TOF MS has been essential to expanding the mass surface in this region, overtaking Penning traps in number of measured isotopes
Despite great efforts, the study of the N = 50 empirical shell gap has not reached the two « holy grails » 78Ni and 100Sn.
The recent push towards 100Sn has brought us tantalizingly close to constraining the N = 50 gap up to the proton dripline.